## Slide 1
Prototype Check 3
CARDIOVASCULAR TEAM
Qingbo Kang
Arthur Kohler
Chantelle Janeiro
Naghmeh Bandari
March 21, 2018

## Slide 2
A way to determine the size of a heart valve, in patients with cardiac valve dysfunction in order to: increase the accuracy and speed of choosing the proper valve; and decrease hospital expenditure and post-operative complications of transcatheter valve replacement.
Need Statements

## Slide 3
Treatment for Heart Valve Disorder
Transcatheter Valve Replacement
Open Surgery
  Stop heart beating
  Use of heart-lung machine
  Several weeks of recovery
Less pain
Less infection
Low-risk patients may leave same day

## Slide 4
Existing Solutions
Contrast Angiogram
Echocardiography
CT Reconstruction of Aortic Root

## Slide 5
Mechanical Design
“AnnuloFit”

## Slide 6
Light Source
Optical Processing
Continuous Sweep
Quarter Sweep
Multiple points
x
x
x
x
Sensing Principle

## Slide 7
Experimental Setup – Sensor Calibration and Validation
11

## Slide 8
Experimental Setup – Sensor Calibration and Validation
+
=

## Slide 9
Output

## Slide 10
Output

## Slide 11: Next Steps
Increasing accuracy of the software
Inserting sensor into an opaque balloon and comparing results
Testing the sensor on different types of meat (fatty vs. lean portions)
In vivo work with pig heart

## Slide 12
CARDIOVASCULAR TEAM
Thank You…