## Slide 1
Prototype Check #2
CARDIOVASCULAR TEAM
Qingbo Kang
Arthur Kohler
Chantelle Janeiro
Naghmeh Bandari
February 28th, 2018
Technical, scientific and customer oriented design evaluation

## Slide 2
Prototype Management Plan
aaaa
bbb

## Slide 3
Mechanical Design
“AnnuloFit”

## Slide 4
Design and Components
Valvoluplasty
Balloon
Light Sensor
Optical Fiber
Catheter Body
+
+
+
=

## Slide 5
Light Source
Optical Processing
Continuous Sweep
Quarter Sweep
Multiple points
x
x
x
x
Sensing Principle

## Slide 6
Performance indicators
Reflected Light Intensity
Annulus Diameter
Accuracy: 1mm
Repeatability: 95%
Medtronic Corevalve

## Slide 7
Concept Validation
3D printed conical model
for calibration and validation
Pig Heart
TAVR Transcatheter Model
Proof of concept: test the ability for a valvuloplasty balloon (attached to catheter) to occlude the left ventricle and stop the blood from temporarily flowing through the aorta.
Create a 3D print of the innovated balloon device.
Development of the balloon’s interior working channel, which will include a photodetector, rotational/translational mini-motor and single mode optical fibers
Test the ability of a 3D printed balloon to inflate and measure the diameter of a conical model.
Conduct an in vivo experiment to test whether the balloon is able to capture and detect proper valve sizes. These results will be compared with standard imaging practices, namely CT scans.

## Slide 8
Accordance with customer/market needs
OCT Ganymede Series  hospitals will be unwilling to spend $50,000+ on the necessary OCT machinery

## Slide 9
CARDIOVASCULAR TEAM
Thank You…